## M180919002
Leica 3D Disto measurement report
Serial number: | 1753120
Software version | 4.0.5.0
Leica Geosystems
3D Disto
Setup
Date | Time
2018-09-19 | 8:07 | UTC
2018-09-19 | 17:07 | local
File
Folder name | File name | File tag
left_side | M180919002 | M180919002
Position 3D Disto
| E | N | H
last | 0.00025953 | -1.1926 | 0.57859
Measurements
Line start | Line end | E end point | N end point | H end point | Angle left[ deg] | Angle right [deg] | D hor [m] | D tie [m] | H diff [m] | Slope [%] | Slope [1:] | Slope [deg] | Diameter [m] | ID | Scan area [m2] | Targeting | Photo | Tilt sensor
| 180919_0001 | 0 | 0 | 0 | [13 empty] | on
180919_0001 | 180919_0002 | 5.3261 | 0 | 0.066542 |  |  | 5.3261 | 5.3265 | 0.066542 | 1.2494 | 80.041 | 0.71579 | [5 empty] | on
180919_0002 | 180919_0003 | -0.33475 | 0.67984 | 0.34928 | 6.8481 | 353.1519 | 5.7015 | 5.7085 | 0.28274 | 4.959 | 20.1655 | 2.8389 | [5 empty] | on
180919_0003 | 180919_0004 | -0.33392 | 1.0384 | 0.34539 | 263.2849 | 96.7151 | 0.3586 | 0.35862 | -0.0038867 | -1.0839 | -92.2637 | -0.62098 | [5 empty] | on
180919_0004 | 180919_0005 | -0.3401 | 1.3909 | 0.3506 | 178.8627 | 181.1373 | 0.35249 | 0.35252 | 0.0052106 | 1.4783 | 67.6473 | 0.84692 | [5 empty] | on
180919_0005 | 180919_0006 | -0.35288 | 1.738 | 0.34462 | 178.8957 | 181.1043 | 0.34736 | 0.34741 | -0.0059868 | -1.7235 | -58.0205 | -0.98741 | [5 empty] | on
180919_0006 | 180919_0007 | -0.37286 | 2.086 | 0.34127 | 178.823 | 181.177 | 0.34855 | 0.34856 | -0.0033415 | -0.9587 | -104.3076 | -0.54928 | [5 empty] | on
180919_0007 | 180919_0008 | -0.40175 | 2.4271 | 0.3443 | 178.4445 | 181.5555 | 0.34232 | 0.34234 | 0.0030271 | 0.88428 | 113.0868 | 0.50664 | [5 empty] | on
180919_0008 | 180919_0009 | -0.43567 | 2.7912 | 0.34423 | 179.5196 | 180.4804 | 0.36573 | 0.36573 | -6.9253e-05 | -0.018935 |  | -0.010849 | [5 empty] | on
180919_0009 | 180919_0010 | -0.47227 | 3.1354 | 0.34296 | 179.2505 | 180.7495 | 0.34608 | 0.34608 | -0.0012751 | -0.36845 | -271.4077 | -0.2111 | [5 empty] | on
180919_0010 | 180919_0011 | -0.5184 | 3.4903 | 0.33731 | 178.6666 | 181.3334 | 0.35797 | 0.35801 | -0.0056461 | -1.5773 | -63.4012 | -0.90363 | [5 empty] | on
180919_0011 | 180919_0012 | -0.57138 | 3.8259 | 0.34232 | 178.4313 | 181.5687 | 0.33969 | 0.33973 | 0.00501 | 1.4749 | 67.8025 | 0.84498 | [5 empty] | on
180919_0012 | 180919_0013 | -0.62658 | 4.1765 | 0.33993 | 180.0265 | 179.9735 | 0.35496 | 0.35497 | -0.0023932 | -0.67422 | -148.3194 | -0.38629 | [5 empty] | on
180919_0013 | 180919_0014 | -0.69337 | 4.5194 | 0.3378 | 177.9227 | 182.0773 | 0.34928 | 0.34929 | -0.002127 | -0.60896 | -164.2146 | -0.3489 | [5 empty] | on
180919_0014 | 180919_0015 | -0.76207 | 4.858 | 0.33922 | 179.5574 | 180.4426 | 0.34556 | 0.34557 | 0.0014144 | 0.4093 | 244.3212 | 0.23451 | [5 empty] | on
180919_0015 | 180919_0016 | -0.84627 | 5.1955 | 0.34149 | 177.4588 | 182.5412 | 0.34787 | 0.34788 | 0.0022795 | 0.65527 | 152.6081 | 0.37544 | [5 empty] | on
180919_0016 | 180919_0017 | -0.93174 | 5.5312 | 0.33684 | 179.7214 | 180.2786 | 0.34633 | 0.34636 | -0.0046526 | -1.3434 | -74.4377 | -0.76967 | [5 empty] | on
180919_0017 | 180919_0018 | -1.0231 | 5.8651 | 0.3351 | 178.9858 | 181.0142 | 0.3462 | 0.3462 | -0.001743 | -0.50346 | -198.6266 | -0.28846 | [5 empty] | on
180919_0018 | 180919_0019 | -0.29015 | 0.75741 | 0.34807 | 7.1345 | 352.8655 | 5.16 | 5.16 | 0.012973 | 0.25142 | 397.7415 | 0.14405 | [5 empty] | on
180919_0019 | 180919_0020 | -0.30069 | 1.1021 | 0.34612 | 6.4145 | 353.5855 | 0.3448 | 0.34481 | -0.0019479 | -0.56494 | -177.009 | -0.32369 | [5 empty] | on
180919_0020 | 180919_0021 | -0.31873 | 1.4234 | 0.34739 | 178.539 | 181.461 | 0.3219 | 0.32191 | 0.001264 | 0.39267 | 254.6639 | 0.22498 | [5 empty] | on
180919_0021 | 180919_0022 | -0.35755 | 1.7609 | 0.3376 | 176.6494 | 183.3506 | 0.33968 | 0.33983 | -0.0097886 | -2.8817 | -34.702 | -1.6506 | [5 empty] | on
180919_0022 | 180919_0023 | -0.40474 | 2.0827 | 0.33978 | 178.2204 | 181.7796 | 0.32521 | 0.32521 | 0.002176 | 0.66912 | 149.4504 | 0.38337 | [5 empty] | on
180919_0023 | 180919_0024 | -0.46474 | 2.4246 | 0.34206 | 178.3902 | 181.6098 | 0.34717 | 0.34718 | 0.0022807 | 0.65693 | 152.2239 | 0.37639 | [5 empty] | on
180919_0024 | 180919_0026 | -0.53923 | 2.7628 | 0.341 | 177.5289 | 182.4711 | 0.34625 | 0.34625 | -0.0010531 | -0.30415 | -328.7874 | -0.17426 | [5 empty] | on
180919_0026 | 180919_0027 | -0.62031 | 3.0769 | 0.33287 | 177.9524 | 182.0476 | 0.32442 | 0.32453 | -0.0081308 | -2.5062 | -39.9008 | -1.4357 | [5 empty] | on
180919_0027 | 180919_0028 | -0.72339 | 3.4144 | 0.33847 | 177.4861 | 182.5139 | 0.35288 | 0.35293 | 0.0055973 | 1.5862 | 63.0455 | 0.90872 | [5 empty] | on
180919_0028 | 180919_0029 | -0.82917 | 3.704 | 0.33688 | 176.9221 | 183.0779 | 0.30835 | 0.30835 | -0.0015863 | -0.51446 | -194.377 | -0.29476 | [5 empty] | on
180919_0029 | 180919_0030 | -0.94961 | 4.0137 | 0.33434 | 178.8103 | 181.1897 | 0.33225 | 0.33226 | -0.0025404 | -0.7646 | -130.788 | -0.43807 | [5 empty] | on
180919_0030 | 180919_0031 | -1.0927 | 4.3389 | 0.33183 | 177.5044 | 182.4956 | 0.35532 | 0.35533 | -0.0025165 | -0.70823 | -141.1962 | -0.40578 | [5 empty] | on
180919_0031 | 180919_0032 | -1.2397 | 4.6337 | 0.33048 | 177.2504 | 182.7496 | 0.3294 | 0.32941 | -0.0013463 | -0.40872 | -244.6682 | -0.23418 | [5 empty] | on
180919_0032 | 180919_0033 | -1.3959 | 4.9274 | 0.33133 | 178.4914 | 181.5086 | 0.3327 | 0.33271 | 0.00085397 | 0.25668 | 389.5957 | 0.14706 | [5 empty] | on
180919_0033 | 180919_0034 | -1.5665 | 5.2135 | 0.32289 | 177.2006 | 182.7994 | 0.33303 | 0.33314 | -0.0084421 | -2.5349 | -39.4488 | -1.4521 | [5 empty] | on
180919_0034 | 180919_0035 | -1.7436 | 5.4887 | 0.32661 | 178.04 | 181.96 | 0.32731 | 0.32733 | 0.0037224 | 1.1373 | 87.9299 | 0.65158 | [5 empty] | on
180919_0035 | 180919_0036 | -0.17596 | 0.49635 | 0.34838 | 15.3334 | 344.6666 | 5.2327 | 5.2328 | 0.021763 | 0.4159 | 240.4444 | 0.23829 | [5 empty] | on
180919_0036 | 180919_0037 | -0.19393 | 0.76559 | 0.3464 | 13.6152 | 346.3848 | 0.26985 | 0.26985 | -0.0019726 | -0.731 | -136.7984 | -0.41883 | [5 empty] | on
180919_0037 | 180919_0038 | -0.23194 | 1.0794 | 0.34945 | 176.9114 | 183.0886 | 0.31615 | 0.31616 | 0.0030408 | 0.96182 | 103.9694 | 0.55107 | [5 empty] | on
180919_0038 | 180919_0039 | -0.28508 | 1.4024 | 0.34645 | 177.5628 | 182.4372 | 0.3273 | 0.32732 | -0.0029982 | -0.91603 | -109.1664 | -0.52483 | [5 empty] | on
180919_0039 | 180919_0040 | -0.35548 | 1.7185 | 0.34459 | 176.7853 | 183.2147 | 0.32381 | 0.32382 | -0.001861 | -0.57471 | -174.0022 | -0.32928 | [5 empty] | on
180919_0040 | 180919_0041 | -0.446 | 2.0121 | 0.33799 | 175.425 | 184.575 | 0.30726 | 0.30733 | -0.006599 | -2.1477 | -46.5609 | -1.2304 | [5 empty] | on
180919_0041 | 180919_0042 | -0.55679 | 2.3211 | 0.33963 | 177.4111 | 182.5889 | 0.32832 | 0.32832 | 0.0016394 | 0.49934 | 200.2625 | 0.2861 | [5 empty] | on
180919_0042 | 180919_0043 | -0.68174 | 2.6193 | 0.33675 | 176.9813 | 183.0187 | 0.32325 | 0.32326 | -0.0028788 | -0.89057 | -112.287 | -0.51025 | [5 empty] | on
180919_0043 | 180919_0044 | -0.82131 | 2.9007 | 0.337 | 176.3644 | 183.6356 | 0.31416 | 0.31416 | 0.00025214 | 0.080258 |  | 0.045984 | [5 empty] | on
180919_0044 | 180919_0045 | -0.97614 | 3.1804 | 0.33552 | 177.4057 | 182.5943 | 0.31965 | 0.31965 | -0.0014822 | -0.46369 | -215.6633 | -0.26567 | [5 empty] | on
180919_0045 | 180919_0046 | -1.1489 | 3.4417 | 0.33372 | 175.4968 | 184.5032 | 0.31329 | 0.3133 | -0.0017974 | -0.5737 | -174.3077 | -0.3287 | [5 empty] | on
180919_0046 | 180919_0047 | -1.3501 | 3.7158 | 0.3303 | 177.2016 | 182.7984 | 0.34001 | 0.34003 | -0.0034235 | -1.0069 | -99.3161 | -0.57688 | [5 empty] | on
180919_0047 | 180919_0048 | -1.5387 | 3.9481 | 0.32913 | 177.2 | 182.8 | 0.29922 | 0.29923 | -0.0011678 | -0.39028 | -256.2243 | -0.22361 | [5 empty] | on
180919_0048 | 180919_0049 | -1.7559 | 4.1754 | 0.32573 | 175.3752 | 184.6248 | 0.31437 | 0.31439 | -0.0034017 | -1.0821 | -92.4171 | -0.61995 | [5 empty] | on
180919_0049 | 180919_0050 | -1.9932 | 4.3977 | 0.32191 | 176.825 | 183.175 | 0.32515 | 0.32517 | -0.0038215 | -1.1753 | -85.0828 | -0.67338 | [5 empty] | on
180919_0050 | 180919_0051 | -2.2447 | 4.6006 | 0.31394 | 175.7603 | 184.2397 | 0.32321 | 0.3233 | -0.0079676 | -2.4652 | -40.5651 | -1.4122 | [5 empty] | on
180919_0051 | 180919_0052 | -2.5117 | 4.7982 | 0.31089 | 177.6199 | 182.3801 | 0.33211 | 0.33213 | -0.0030473 | -0.91756 | -108.9851 | -0.52571 | [5 empty] | on
180919_0052 | 180919_0053 | -0.20369 | 0.40205 | 0.34972 | 25.7919 | 334.2081 | 4.9652 | 4.9653 | 0.038833 | 0.7821 | 127.8614 | 0.4481 | [5 empty] | on
180919_0053 | 180919_0054 | -0.21601 | 0.63411 | 0.34813 | 24.6606 | 335.3394 | 0.23239 | 0.23239 | -0.0015956 | -0.68662 | -145.6407 | -0.3934 | [5 empty] | on
180919_0054 | 180919_0055 | -0.25161 | 0.93201 | 0.34186 | 176.2255 | 183.7745 | 0.30002 | 0.30009 | -0.0062648 | -2.0881 | -47.8905 | -1.1962 | [5 empty] | on
180919_0055 | 180919_0056 | -0.30804 | 1.2149 | 0.34591 | 175.5308 | 184.4692 | 0.28842 | 0.28845 | 0.004051 | 1.4045 | 71.1976 | 0.80469 | [5 empty] | on
180919_0056 | 180919_0057 | -0.39853 | 1.5271 | 0.34627 | 175.1182 | 184.8818 | 0.32505 | 0.32505 | 0.00035187 | 0.10825 | 923.7905 | 0.062022 | [5 empty] | on
180919_0057 | 180919_0058 | -0.49808 | 1.8125 | 0.34186 | 176.939 | 183.061 | 0.30232 | 0.30235 | -0.0044112 | -1.4591 | -68.5349 | -0.83595 | [5 empty] | on
180919_0058 | 180919_0059 | -0.62323 | 2.0837 | 0.33938 | 174.4491 | 185.5509 | 0.29865 | 0.29866 | -0.0024798 | -0.83035 | -120.4311 | -0.47574 | [5 empty] | on
180919_0059 | 180919_0060 | -0.77386 | 2.3506 | 0.3386 | 175.3437 | 184.6563 | 0.30652 | 0.30652 | -0.00077464 | -0.25272 | -395.6937 | -0.1448 | [5 empty] | on
180919_0060 | 180919_0061 | -0.94104 | 2.6075 | 0.3364 | 176.3758 | 183.6242 | 0.30649 | 0.3065 | -0.0022037 | -0.71902 | -139.0787 | -0.41196 | [5 empty] | on
180919_0061 | 180919_0062 | -1.1268 | 2.8475 | 0.32858 | 175.3249 | 184.6751 | 0.3035 | 0.3036 | -0.0078156 | -2.5751 | -38.8328 | -1.4751 | [5 empty] | on
180919_0062 | 180919_0063 | -1.3316 | 3.0786 | 0.33124 | 176.1809 | 183.8191 | 0.30873 | 0.30874 | 0.0026572 | 0.86067 | 116.1883 | 0.49312 | [5 empty] | on
180919_0063 | 180919_0064 | -1.5477 | 3.2848 | 0.32891 | 175.2106 | 184.7894 | 0.29875 | 0.29876 | -0.0023316 | -0.78043 | -128.1347 | -0.44714 | [5 empty] | on
180919_0064 | 180919_0065 | -1.7735 | 3.4709 | 0.32719 | 175.8246 | 184.1754 | 0.29258 | 0.29258 | -0.0017178 | -0.58713 | -170.3195 | -0.3364 | [5 empty] | on
180919_0065 | 180919_0066 | -2.0335 | 3.6566 | 0.32248 | 176.0533 | 183.9467 | 0.31952 | 0.31955 | -0.0047091 | -1.4738 | -67.8521 | -0.84436 | [5 empty] | on
180919_0066 | 180919_0067 | -2.2993 | 3.8186 | 0.31643 | 175.8155 | 184.1845 | 0.3113 | 0.31135 | -0.0060526 | -1.9443 | -51.4317 | -1.1139 | [5 empty] | on
180919_0067 | 180919_0068 | -2.5689 | 3.9499 | 0.31453 | 174.6211 | 185.3789 | 0.29989 | 0.2999 | -0.0018972 | -0.63263 | -158.0704 | -0.36247 | [5 empty] | on
180919_0068 | 180919_0069 | -2.8414 | 4.0606 | 0.30831 | 176.1378 | 183.8622 | 0.29408 | 0.29414 | -0.0062236 | -2.1163 | -47.2521 | -1.2124 | [5 empty] | on
180919_0069 | 180919_0070 | -3.127 | 4.144 | 0.30582 | 174.1611 | 185.8389 | 0.29748 | 0.29749 | -0.0024846 | -0.83521 | -119.7306 | -0.47853 | [5 empty] | on
180919_0070 | 180919_0071 | -0.25138 | 0.43886 | 0.34606 | 35.9116 | 324.0884 | 4.6901 | 4.6902 | 0.040237 | 0.85793 | 116.56 | 0.49154 | [5 empty] | on
180919_0071 | 180919_0072 | -0.26166 | 0.70737 | 0.34883 | 35.6218 | 324.3782 | 0.2687 | 0.26872 | 0.0027727 | 1.0319 | 96.9112 | 0.5912 | [5 empty] | on
180919_0072 | 180919_0073 | -0.29372 | 0.97798 | 0.34947 | 175.4376 | 184.5624 | 0.27251 | 0.27251 | 0.00063737 | 0.23389 | 427.5454 | 0.13401 | [5 empty] | on
180919_0073 | 180919_0074 | -0.35505 | 1.2491 | 0.34718 | 174.0111 | 185.9889 | 0.27797 | 0.27798 | -0.0022877 | -0.82298 | -121.5094 | -0.47152 | [5 empty] | on
180919_0074 | 180919_0075 | -0.44597 | 1.5347 | 0.35159 | 175.0844 | 184.9156 | 0.2997 | 0.29973 | 0.0044095 | 1.4713 | 67.9667 | 0.84294 | [5 empty] | on
180919_0075 | 180919_0076 | -0.56188 | 1.7963 | 0.34271 | 173.7651 | 186.2349 | 0.28616 | 0.2863 | -0.0088852 | -3.105 | -32.2066 | -1.7784 | [5 empty] | on
180919_0076 | 180919_0077 | -0.6956 | 2.0384 | 0.3384 | 174.9852 | 185.0148 | 0.27661 | 0.27664 | -0.004309 | -1.5578 | -64.1927 | -0.89249 | [5 empty] | on
180919_0077 | 180919_0078 | -0.86122 | 2.2793 | 0.33582 | 174.4017 | 185.5983 | 0.29233 | 0.29234 | -0.0025727 | -0.88009 | -113.625 | -0.50424 | [5 empty] | on
180919_0078 | 180919_0079 | -1.0468 | 2.5012 | 0.33295 | 174.5974 | 185.4026 | 0.2892 | 0.28922 | -0.0028754 | -0.99426 | -100.5778 | -0.56965 | [5 empty] | on
180919_0079 | 180919_0080 | -1.2563 | 2.7146 | 0.33435 | 175.4382 | 184.5618 | 0.2991 | 0.2991 | 0.0014035 | 0.46924 | 213.1101 | 0.26885 | [5 empty] | on
180919_0080 | 180919_0081 | -1.4892 | 2.9002 | 0.32766 | 173.0354 | 186.9646 | 0.2978 | 0.29788 | -0.0066897 | -2.2464 | -44.5166 | -1.2868 | [5 empty] | on
180919_0081 | 180919_0082 | -1.7258 | 3.0611 | 0.32616 | 175.6414 | 184.3586 | 0.28608 | 0.28609 | -0.0015023 | -0.52511 | -190.4369 | -0.30086 | [5 empty] | on
180919_0082 | 180919_0083 | -1.9616 | 3.1925 | 0.32468 | 174.9333 | 185.0667 | 0.26995 | 0.26996 | -0.0014843 | -0.54983 | -181.8728 | -0.31503 | [5 empty] | on
180919_0083 | 180919_0084 | -2.2355 | 3.3085 | 0.32261 | 173.8205 | 186.1795 | 0.29751 | 0.29752 | -0.002063 | -0.69343 | -144.211 | -0.3973 | [5 empty] | on
180919_0084 | 180919_0085 | -2.5204 | 3.4038 | 0.32198 | 175.5298 | 184.4702 | 0.30035 | 0.30036 | -0.00063459 | -0.21128 | -473.3082 | -0.12105 | [5 empty] | on
180919_0085 | 180919_0086 | -2.7945 | 3.4669 | 0.31518 | 174.4709 | 185.5291 | 0.28131 | 0.2814 | -0.0067998 | -2.4172 | -41.3708 | -1.3847 | [5 empty] | on
180919_0086 | 180919_0087 | -3.0718 | 3.5016 | 0.31359 | 174.1728 | 185.8272 | 0.2795 | 0.2795 | -0.0015843 | -0.56685 | -176.4141 | -0.32478 | [5 empty] | on
180919_0087 | 180919_0088 | -3.3486 | 3.5096 | 0.30855 | 174.5357 | 185.4643 | 0.27684 | 0.27688 | -0.0050434 | -1.8218 | -54.8906 | -1.0437 | [5 empty] | on
180919_0088 | 180919_0089 | -3.6407 | 3.4986 | 0.30814 | 176.1824 | 183.8176 | 0.29233 | 0.29233 | -0.00040698 | -0.13922 | -718.2977 | -0.079766 | [5 empty] | on
180919_0089 | 180919_0090 | -0.2167 | 0.45892 | 0.35128 | 43.7485 | 316.2515 | 4.5786 | 4.5788 | 0.043135 | 0.94211 | 106.1451 | 0.53977 | [5 empty] | on
180919_0090 | 180919_0091 | -0.23698 | 0.75429 | 0.34004 | 44.4756 | 315.5244 | 0.29607 | 0.29628 | -0.011243 | -3.7975 | -26.3331 | -2.1748 | [5 empty] | on
180919_0091 | 180919_0092 | -0.28934 | 1.0256 | 0.34654 | 173.0032 | 186.9968 | 0.27633 | 0.27641 | 0.0065029 | 2.3533 | 42.4943 | 1.3481 | [5 empty] | on
180919_0092 | 180919_0093 | -0.3689 | 1.2918 | 0.34932 | 174.2831 | 185.7169 | 0.27784 | 0.27786 | 0.0027766 | 0.99934 | 100.0657 | 0.57256 | [5 empty] | on
180919_0093 | 180919_0094 | -0.46266 | 1.5333 | 0.34353 | 175.4253 | 184.5747 | 0.25908 | 0.25914 | -0.0057828 | -2.2321 | -44.8013 | -1.2787 | [5 empty] | on
180919_0094 | 180919_0095 | -0.60121 | 1.787 | 0.33652 | 172.5723 | 187.4277 | 0.28905 | 0.28913 | -0.0070131 | -2.4263 | -41.2157 | -1.3899 | [5 empty] | on
180919_0095 | 180919_0096 | -0.75299 | 1.9982 | 0.33708 | 172.9305 | 187.0695 | 0.26003 | 0.26003 | 0.00055891 | 0.21494 | 465.2429 | 0.12315 | [5 empty] | on
180919_0096 | 180919_0097 | -0.94872 | 2.2066 | 0.33182 | 172.5207 | 187.4793 | 0.28597 | 0.28602 | -0.0052596 | -1.8392 | -54.3708 | -1.0537 | [5 empty] | on
180919_0097 | 180919_0099 | -1.1386 | 2.3817 | 0.33111 | 175.8648 | 184.1352 | 0.25831 | 0.25831 | -0.00071237 | -0.27579 | -362.5998 | -0.15801 | [5 empty] | on
180919_0099 | 180919_0100 | -1.3447 | 2.5343 | 0.3231 | 173.8404 | 186.1596 | 0.25635 | 0.25648 | -0.0080055 | -3.1228 | -32.0222 | -1.7887 | [5 empty] | on
180919_0100 | 180919_0101 | -1.5871 | 2.6718 | 0.3271 | 173.0539 | 186.9461 | 0.27868 | 0.27871 | 0.0040029 | 1.4364 | 69.6195 | 0.82293 | [5 empty] | on
180919_0101 | 180919_0102 | -1.8366 | 2.7924 | 0.32383 | 176.2256 | 183.7744 | 0.27716 | 0.27718 | -0.0032706 | -1.18 | -84.7438 | -0.67607 | [5 empty] | on
180919_0102 | 180919_0103 | -2.0732 | 2.8649 | 0.31644 | 171.2571 | 188.7429 | 0.24744 | 0.24755 | -0.0073964 | -2.9892 | -33.4539 | -1.7122 | [5 empty] | on
180919_0103 | 180919_0104 | -2.3632 | 2.9237 | 0.32257 | 174.3968 | 185.6032 | 0.29594 | 0.296 | 0.0061318 | 2.072 | 48.2623 | 1.187 | [5 empty] | on
180919_0104 | 180919_0105 | -2.6264 | 2.9544 | 0.30961 | 175.2098 | 184.7902 | 0.26501 | 0.26533 | -0.012961 | -4.8907 | -20.4472 | -2.7999 | [5 empty] | on
180919_0105 | 180919_0106 | -2.8993 | 2.9516 | 0.31244 | 172.7513 | 187.2487 | 0.2729 | 0.27292 | 0.0028341 | 1.0385 | 96.2918 | 0.595 | [5 empty] | on
180919_0106 | 180919_0107 | -3.1685 | 2.922 | 0.31388 | 174.3295 | 185.6705 | 0.27081 | 0.27081 | 0.0014328 | 0.52907 | 189.0107 | 0.30313 | [5 empty] | on
180919_0107 | 180919_0108 | -3.4547 | 2.8534 | 0.30602 | 172.7676 | 187.2324 | 0.29425 | 0.29435 | -0.0078533 | -2.6689 | -37.4682 | -1.5288 | [5 empty] | on
180919_0108 | 180919_0109 | -3.7013 | 2.7675 | 0.3108 | 174.3061 | 185.6939 | 0.26119 | 0.26123 | 0.0047812 | 1.8306 | 54.6279 | 1.0487 | [5 empty] | on
180919_0109 | 180919_0110 | -0.28825 | 0.50262 | 0.34084 | 52.7567 | 307.2433 | 4.0962 | 4.0963 | 0.030042 | 0.7334 | 136.3515 | 0.4202 | [5 empty] | on
180919_0110 | 180919_0111 | -0.30281 | 0.76818 | 0.34264 | 53.2922 | 306.7078 | 0.26597 | 0.26597 | 0.0017956 | 0.67513 | 148.1193 | 0.38682 | [5 empty] | on
180919_0111 | 180919_0112 | -0.35117 | 1.0176 | 0.34571 | 172.1668 | 187.8332 | 0.25406 | 0.25408 | 0.0030707 | 1.2087 | 82.7359 | 0.69248 | [5 empty] | on
180919_0112 | 180919_0113 | -0.42958 | 1.2775 | 0.34482 | 174.1827 | 185.8173 | 0.27142 | 0.27143 | -0.00089166 | -0.32851 | -304.4021 | -0.18822 | [5 empty] | on
180919_0113 | 180919_0114 | -0.53826 | 1.511 | 0.34266 | 171.8324 | 188.1676 | 0.25756 | 0.25757 | -0.002163 | -0.8398 | -119.0762 | -0.48116 | [5 empty] | on
180919_0114 | 180919_0115 | -0.6784 | 1.7339 | 0.34275 | 172.8091 | 187.1909 | 0.26337 | 0.26337 | 9.0153e-05 | 0.034231 |  | 0.019613 | [5 empty] | on
180919_0115 | 180919_0116 | -0.8424 | 1.92 | 0.3316 | 170.7465 | 189.2535 | 0.24798 | 0.24823 | -0.011146 | -4.4946 | -22.2488 | -2.5735 | [5 empty] | on
180919_0116 | 180919_0117 | -1.0264 | 2.0962 | 0.33391 | 175.1676 | 184.8324 | 0.25474 | 0.25475 | 0.0023121 | 0.90763 | 110.1766 | 0.52002 | [5 empty] | on
180919_0117 | 180919_0118 | -1.2514 | 2.2595 | 0.32788 | 172.2006 | 187.7994 | 0.27808 | 0.27815 | -0.0060331 | -2.1695 | -46.093 | -1.2429 | [5 empty] | on
180919_0118 | 180919_0119 | -1.4668 | 2.3816 | 0.3287 | 173.6009 | 186.3991 | 0.24755 | 0.24755 | 0.00082367 | 0.33273 | 300.5407 | 0.19064 | [5 empty] | on
180919_0119 | 180919_0120 | -1.6986 | 2.4781 | 0.32332 | 173.032 | 186.968 | 0.25113 | 0.25119 | -0.005382 | -2.1431 | -46.6623 | -1.2277 | [5 empty] | on
180919_0120 | 180919_0121 | -1.9538 | 2.5498 | 0.32472 | 173.0899 | 186.9101 | 0.26503 | 0.26504 | 0.0014014 | 0.52875 | 189.1247 | 0.30295 | [5 empty] | on
180919_0121 | 180919_0122 | -2.1966 | 2.5829 | 0.31916 | 172.0833 | 187.9167 | 0.24505 | 0.24511 | -0.0055642 | -2.2706 | -44.0405 | -1.3008 | [5 empty] | on
180919_0122 | 180919_0123 | -2.4563 | 2.5926 | 0.32239 | 174.3559 | 185.6441 | 0.25994 | 0.25996 | 0.0032359 | 1.2449 | 80.3297 | 0.71322 | [5 empty] | on
180919_0123 | 180919_0124 | -2.7051 | 2.5622 | 0.31648 | 170.9079 | 189.0921 | 0.25067 | 0.25074 | -0.0059188 | -2.3612 | -42.3515 | -1.3526 | [5 empty] | on
180919_0124 | 180919_0125 | -2.9599 | 2.5056 | 0.31668 | 174.4377 | 185.5623 | 0.26098 | 0.26098 | 0.00020337 | 0.077928 |  | 0.044649 | [5 empty] | on
180919_0125 | 180919_0126 | -3.1968 | 2.4103 | 0.30922 | 170.625 | 189.375 | 0.25537 | 0.25548 | -0.0074623 | -2.9222 | -34.2212 | -1.6738 | [5 empty] | on
180919_0126 | 180919_0127 | -3.4306 | 2.2936 | 0.31345 | 175.3663 | 184.6337 | 0.26124 | 0.26128 | 0.0042317 | 1.6198 | 61.7349 | 0.92801 | [5 empty] | on
180919_0127 | 180919_0128 | -3.6407 | 2.1467 | 0.31559 | 171.5814 | 188.4186 | 0.25643 | 0.25644 | 0.0021447 | 0.83636 | 119.5661 | 0.47919 | [5 empty] | on
180919_0128 | 180919_0129 | -3.8207 | 1.9745 | 0.31395 | 171.2125 | 188.7875 | 0.24903 | 0.24904 | -0.0016477 | -0.66164 | -151.1388 | -0.37909 | [5 empty] | on
180919_0129 | 180919_0130 | -3.9901 | 1.777 | 0.30611 | 174.3607 | 185.6393 | 0.26024 | 0.26036 | -0.0078353 | -3.0108 | -33.2141 | -1.7245 | [5 empty] | on

## 取り出し
Line start | Line end | E end point | N end point | H end point | Angle left[ deg] | Angle right [deg] | D hor [m] | D tie [m] | H diff [m] | Slope [%] | Slope [1:] | Slope [deg] | Diameter [m] | ID | Scan area [m2] | Targeting | Photo | Tilt sensor
| 180919_0001 | 0 | 0 | 0 | [13 empty] | on
180919_0001 | 180919_0002 | 5.3261 | 0 | 0.066542 |  |  | 5.3261 | 5.3265 | 0.066542 | 1.2494 | 80.041 | 0.71579 | [5 empty] | on
180919_0002 | 180919_0003 | -0.33475 | 0.67984 | 0.34928 | 6.8481 | 353.1519 | 5.7015 | 5.7085 | 0.28274 | 4.959 | 20.1655 | 2.8389 | [5 empty] | on
180919_0003 | 180919_0004 | -0.33392 | 1.0384 | 0.34539 | 263.2849 | 96.7151 | 0.3586 | 0.35862 | -0.0038867 | -1.0839 | -92.2637 | -0.62098 | [5 empty] | on
180919_0004 | 180919_0005 | -0.3401 | 1.3909 | 0.3506 | 178.8627 | 181.1373 | 0.35249 | 0.35252 | 0.0052106 | 1.4783 | 67.6473 | 0.84692 | [5 empty] | on
180919_0005 | 180919_0006 | -0.35288 | 1.738 | 0.34462 | 178.8957 | 181.1043 | 0.34736 | 0.34741 | -0.0059868 | -1.7235 | -58.0205 | -0.98741 | [5 empty] | on
180919_0006 | 180919_0007 | -0.37286 | 2.086 | 0.34127 | 178.823 | 181.177 | 0.34855 | 0.34856 | -0.0033415 | -0.9587 | -104.3076 | -0.54928 | [5 empty] | on
180919_0007 | 180919_0008 | -0.40175 | 2.4271 | 0.3443 | 178.4445 | 181.5555 | 0.34232 | 0.34234 | 0.0030271 | 0.88428 | 113.0868 | 0.50664 | [5 empty] | on
180919_0008 | 180919_0009 | -0.43567 | 2.7912 | 0.34423 | 179.5196 | 180.4804 | 0.36573 | 0.36573 | -6.9253e-05 | -0.018935 |  | -0.010849 | [5 empty] | on
180919_0009 | 180919_0010 | -0.47227 | 3.1354 | 0.34296 | 179.2505 | 180.7495 | 0.34608 | 0.34608 | -0.0012751 | -0.36845 | -271.4077 | -0.2111 | [5 empty] | on
180919_0010 | 180919_0011 | -0.5184 | 3.4903 | 0.33731 | 178.6666 | 181.3334 | 0.35797 | 0.35801 | -0.0056461 | -1.5773 | -63.4012 | -0.90363 | [5 empty] | on
180919_0011 | 180919_0012 | -0.57138 | 3.8259 | 0.34232 | 178.4313 | 181.5687 | 0.33969 | 0.33973 | 0.00501 | 1.4749 | 67.8025 | 0.84498 | [5 empty] | on
180919_0012 | 180919_0013 | -0.62658 | 4.1765 | 0.33993 | 180.0265 | 179.9735 | 0.35496 | 0.35497 | -0.0023932 | -0.67422 | -148.3194 | -0.38629 | [5 empty] | on
180919_0013 | 180919_0014 | -0.69337 | 4.5194 | 0.3378 | 177.9227 | 182.0773 | 0.34928 | 0.34929 | -0.002127 | -0.60896 | -164.2146 | -0.3489 | [5 empty] | on
180919_0014 | 180919_0015 | -0.76207 | 4.858 | 0.33922 | 179.5574 | 180.4426 | 0.34556 | 0.34557 | 0.0014144 | 0.4093 | 244.3212 | 0.23451 | [5 empty] | on
180919_0015 | 180919_0016 | -0.84627 | 5.1955 | 0.34149 | 177.4588 | 182.5412 | 0.34787 | 0.34788 | 0.0022795 | 0.65527 | 152.6081 | 0.37544 | [5 empty] | on
180919_0016 | 180919_0017 | -0.93174 | 5.5312 | 0.33684 | 179.7214 | 180.2786 | 0.34633 | 0.34636 | -0.0046526 | -1.3434 | -74.4377 | -0.76967 | [5 empty] | on
180919_0017 | 180919_0018 | -1.0231 | 5.8651 | 0.3351 | 178.9858 | 181.0142 | 0.3462 | 0.3462 | -0.001743 | -0.50346 | -198.6266 | -0.28846 | [5 empty] | on
180919_0018 | 180919_0019 | -0.29015 | 0.75741 | 0.34807 | 7.1345 | 352.8655 | 5.16 | 5.16 | 0.012973 | 0.25142 | 397.7415 | 0.14405 | [5 empty] | on
180919_0019 | 180919_0020 | -0.30069 | 1.1021 | 0.34612 | 6.4145 | 353.5855 | 0.3448 | 0.34481 | -0.0019479 | -0.56494 | -177.009 | -0.32369 | [5 empty] | on
180919_0020 | 180919_0021 | -0.31873 | 1.4234 | 0.34739 | 178.539 | 181.461 | 0.3219 | 0.32191 | 0.001264 | 0.39267 | 254.6639 | 0.22498 | [5 empty] | on
180919_0021 | 180919_0022 | -0.35755 | 1.7609 | 0.3376 | 176.6494 | 183.3506 | 0.33968 | 0.33983 | -0.0097886 | -2.8817 | -34.702 | -1.6506 | [5 empty] | on
180919_0022 | 180919_0023 | -0.40474 | 2.0827 | 0.33978 | 178.2204 | 181.7796 | 0.32521 | 0.32521 | 0.002176 | 0.66912 | 149.4504 | 0.38337 | [5 empty] | on
180919_0023 | 180919_0024 | -0.46474 | 2.4246 | 0.34206 | 178.3902 | 181.6098 | 0.34717 | 0.34718 | 0.0022807 | 0.65693 | 152.2239 | 0.37639 | [5 empty] | on
180919_0024 | 180919_0026 | -0.53923 | 2.7628 | 0.341 | 177.5289 | 182.4711 | 0.34625 | 0.34625 | -0.0010531 | -0.30415 | -328.7874 | -0.17426 | [5 empty] | on
180919_0026 | 180919_0027 | -0.62031 | 3.0769 | 0.33287 | 177.9524 | 182.0476 | 0.32442 | 0.32453 | -0.0081308 | -2.5062 | -39.9008 | -1.4357 | [5 empty] | on
180919_0027 | 180919_0028 | -0.72339 | 3.4144 | 0.33847 | 177.4861 | 182.5139 | 0.35288 | 0.35293 | 0.0055973 | 1.5862 | 63.0455 | 0.90872 | [5 empty] | on
180919_0028 | 180919_0029 | -0.82917 | 3.704 | 0.33688 | 176.9221 | 183.0779 | 0.30835 | 0.30835 | -0.0015863 | -0.51446 | -194.377 | -0.29476 | [5 empty] | on
180919_0029 | 180919_0030 | -0.94961 | 4.0137 | 0.33434 | 178.8103 | 181.1897 | 0.33225 | 0.33226 | -0.0025404 | -0.7646 | -130.788 | -0.43807 | [5 empty] | on
180919_0030 | 180919_0031 | -1.0927 | 4.3389 | 0.33183 | 177.5044 | 182.4956 | 0.35532 | 0.35533 | -0.0025165 | -0.70823 | -141.1962 | -0.40578 | [5 empty] | on
180919_0031 | 180919_0032 | -1.2397 | 4.6337 | 0.33048 | 177.2504 | 182.7496 | 0.3294 | 0.32941 | -0.0013463 | -0.40872 | -244.6682 | -0.23418 | [5 empty] | on
180919_0032 | 180919_0033 | -1.3959 | 4.9274 | 0.33133 | 178.4914 | 181.5086 | 0.3327 | 0.33271 | 0.00085397 | 0.25668 | 389.5957 | 0.14706 | [5 empty] | on
180919_0033 | 180919_0034 | -1.5665 | 5.2135 | 0.32289 | 177.2006 | 182.7994 | 0.33303 | 0.33314 | -0.0084421 | -2.5349 | -39.4488 | -1.4521 | [5 empty] | on
180919_0034 | 180919_0035 | -1.7436 | 5.4887 | 0.32661 | 178.04 | 181.96 | 0.32731 | 0.32733 | 0.0037224 | 1.1373 | 87.9299 | 0.65158 | [5 empty] | on
180919_0035 | 180919_0036 | -0.17596 | 0.49635 | 0.34838 | 15.3334 | 344.6666 | 5.2327 | 5.2328 | 0.021763 | 0.4159 | 240.4444 | 0.23829 | [5 empty] | on
180919_0036 | 180919_0037 | -0.19393 | 0.76559 | 0.3464 | 13.6152 | 346.3848 | 0.26985 | 0.26985 | -0.0019726 | -0.731 | -136.7984 | -0.41883 | [5 empty] | on
180919_0037 | 180919_0038 | -0.23194 | 1.0794 | 0.34945 | 176.9114 | 183.0886 | 0.31615 | 0.31616 | 0.0030408 | 0.96182 | 103.9694 | 0.55107 | [5 empty] | on
180919_0038 | 180919_0039 | -0.28508 | 1.4024 | 0.34645 | 177.5628 | 182.4372 | 0.3273 | 0.32732 | -0.0029982 | -0.91603 | -109.1664 | -0.52483 | [5 empty] | on
180919_0039 | 180919_0040 | -0.35548 | 1.7185 | 0.34459 | 176.7853 | 183.2147 | 0.32381 | 0.32382 | -0.001861 | -0.57471 | -174.0022 | -0.32928 | [5 empty] | on
180919_0040 | 180919_0041 | -0.446 | 2.0121 | 0.33799 | 175.425 | 184.575 | 0.30726 | 0.30733 | -0.006599 | -2.1477 | -46.5609 | -1.2304 | [5 empty] | on
180919_0041 | 180919_0042 | -0.55679 | 2.3211 | 0.33963 | 177.4111 | 182.5889 | 0.32832 | 0.32832 | 0.0016394 | 0.49934 | 200.2625 | 0.2861 | [5 empty] | on
180919_0042 | 180919_0043 | -0.68174 | 2.6193 | 0.33675 | 176.9813 | 183.0187 | 0.32325 | 0.32326 | -0.0028788 | -0.89057 | -112.287 | -0.51025 | [5 empty] | on
180919_0043 | 180919_0044 | -0.82131 | 2.9007 | 0.337 | 176.3644 | 183.6356 | 0.31416 | 0.31416 | 0.00025214 | 0.080258 |  | 0.045984 | [5 empty] | on
180919_0044 | 180919_0045 | -0.97614 | 3.1804 | 0.33552 | 177.4057 | 182.5943 | 0.31965 | 0.31965 | -0.0014822 | -0.46369 | -215.6633 | -0.26567 | [5 empty] | on
180919_0045 | 180919_0046 | -1.1489 | 3.4417 | 0.33372 | 175.4968 | 184.5032 | 0.31329 | 0.3133 | -0.0017974 | -0.5737 | -174.3077 | -0.3287 | [5 empty] | on
180919_0046 | 180919_0047 | -1.3501 | 3.7158 | 0.3303 | 177.2016 | 182.7984 | 0.34001 | 0.34003 | -0.0034235 | -1.0069 | -99.3161 | -0.57688 | [5 empty] | on
180919_0047 | 180919_0048 | -1.5387 | 3.9481 | 0.32913 | 177.2 | 182.8 | 0.29922 | 0.29923 | -0.0011678 | -0.39028 | -256.2243 | -0.22361 | [5 empty] | on
180919_0048 | 180919_0049 | -1.7559 | 4.1754 | 0.32573 | 175.3752 | 184.6248 | 0.31437 | 0.31439 | -0.0034017 | -1.0821 | -92.4171 | -0.61995 | [5 empty] | on
180919_0049 | 180919_0050 | -1.9932 | 4.3977 | 0.32191 | 176.825 | 183.175 | 0.32515 | 0.32517 | -0.0038215 | -1.1753 | -85.0828 | -0.67338 | [5 empty] | on
180919_0050 | 180919_0051 | -2.2447 | 4.6006 | 0.31394 | 175.7603 | 184.2397 | 0.32321 | 0.3233 | -0.0079676 | -2.4652 | -40.5651 | -1.4122 | [5 empty] | on
180919_0051 | 180919_0052 | -2.5117 | 4.7982 | 0.31089 | 177.6199 | 182.3801 | 0.33211 | 0.33213 | -0.0030473 | -0.91756 | -108.9851 | -0.52571 | [5 empty] | on
180919_0052 | 180919_0053 | -0.20369 | 0.40205 | 0.34972 | 25.7919 | 334.2081 | 4.9652 | 4.9653 | 0.038833 | 0.7821 | 127.8614 | 0.4481 | [5 empty] | on
180919_0053 | 180919_0054 | -0.21601 | 0.63411 | 0.34813 | 24.6606 | 335.3394 | 0.23239 | 0.23239 | -0.0015956 | -0.68662 | -145.6407 | -0.3934 | [5 empty] | on
180919_0054 | 180919_0055 | -0.25161 | 0.93201 | 0.34186 | 176.2255 | 183.7745 | 0.30002 | 0.30009 | -0.0062648 | -2.0881 | -47.8905 | -1.1962 | [5 empty] | on
180919_0055 | 180919_0056 | -0.30804 | 1.2149 | 0.34591 | 175.5308 | 184.4692 | 0.28842 | 0.28845 | 0.004051 | 1.4045 | 71.1976 | 0.80469 | [5 empty] | on
180919_0056 | 180919_0057 | -0.39853 | 1.5271 | 0.34627 | 175.1182 | 184.8818 | 0.32505 | 0.32505 | 0.00035187 | 0.10825 | 923.7905 | 0.062022 | [5 empty] | on
180919_0057 | 180919_0058 | -0.49808 | 1.8125 | 0.34186 | 176.939 | 183.061 | 0.30232 | 0.30235 | -0.0044112 | -1.4591 | -68.5349 | -0.83595 | [5 empty] | on
180919_0058 | 180919_0059 | -0.62323 | 2.0837 | 0.33938 | 174.4491 | 185.5509 | 0.29865 | 0.29866 | -0.0024798 | -0.83035 | -120.4311 | -0.47574 | [5 empty] | on
180919_0059 | 180919_0060 | -0.77386 | 2.3506 | 0.3386 | 175.3437 | 184.6563 | 0.30652 | 0.30652 | -0.00077464 | -0.25272 | -395.6937 | -0.1448 | [5 empty] | on
180919_0060 | 180919_0061 | -0.94104 | 2.6075 | 0.3364 | 176.3758 | 183.6242 | 0.30649 | 0.3065 | -0.0022037 | -0.71902 | -139.0787 | -0.41196 | [5 empty] | on
180919_0061 | 180919_0062 | -1.1268 | 2.8475 | 0.32858 | 175.3249 | 184.6751 | 0.3035 | 0.3036 | -0.0078156 | -2.5751 | -38.8328 | -1.4751 | [5 empty] | on
180919_0062 | 180919_0063 | -1.3316 | 3.0786 | 0.33124 | 176.1809 | 183.8191 | 0.30873 | 0.30874 | 0.0026572 | 0.86067 | 116.1883 | 0.49312 | [5 empty] | on
180919_0063 | 180919_0064 | -1.5477 | 3.2848 | 0.32891 | 175.2106 | 184.7894 | 0.29875 | 0.29876 | -0.0023316 | -0.78043 | -128.1347 | -0.44714 | [5 empty] | on
180919_0064 | 180919_0065 | -1.7735 | 3.4709 | 0.32719 | 175.8246 | 184.1754 | 0.29258 | 0.29258 | -0.0017178 | -0.58713 | -170.3195 | -0.3364 | [5 empty] | on
180919_0065 | 180919_0066 | -2.0335 | 3.6566 | 0.32248 | 176.0533 | 183.9467 | 0.31952 | 0.31955 | -0.0047091 | -1.4738 | -67.8521 | -0.84436 | [5 empty] | on
180919_0066 | 180919_0067 | -2.2993 | 3.8186 | 0.31643 | 175.8155 | 184.1845 | 0.3113 | 0.31135 | -0.0060526 | -1.9443 | -51.4317 | -1.1139 | [5 empty] | on
180919_0067 | 180919_0068 | -2.5689 | 3.9499 | 0.31453 | 174.6211 | 185.3789 | 0.29989 | 0.2999 | -0.0018972 | -0.63263 | -158.0704 | -0.36247 | [5 empty] | on
180919_0068 | 180919_0069 | -2.8414 | 4.0606 | 0.30831 | 176.1378 | 183.8622 | 0.29408 | 0.29414 | -0.0062236 | -2.1163 | -47.2521 | -1.2124 | [5 empty] | on
180919_0069 | 180919_0070 | -3.127 | 4.144 | 0.30582 | 174.1611 | 185.8389 | 0.29748 | 0.29749 | -0.0024846 | -0.83521 | -119.7306 | -0.47853 | [5 empty] | on
180919_0070 | 180919_0071 | -0.25138 | 0.43886 | 0.34606 | 35.9116 | 324.0884 | 4.6901 | 4.6902 | 0.040237 | 0.85793 | 116.56 | 0.49154 | [5 empty] | on
180919_0071 | 180919_0072 | -0.26166 | 0.70737 | 0.34883 | 35.6218 | 324.3782 | 0.2687 | 0.26872 | 0.0027727 | 1.0319 | 96.9112 | 0.5912 | [5 empty] | on
180919_0072 | 180919_0073 | -0.29372 | 0.97798 | 0.34947 | 175.4376 | 184.5624 | 0.27251 | 0.27251 | 0.00063737 | 0.23389 | 427.5454 | 0.13401 | [5 empty] | on
180919_0073 | 180919_0074 | -0.35505 | 1.2491 | 0.34718 | 174.0111 | 185.9889 | 0.27797 | 0.27798 | -0.0022877 | -0.82298 | -121.5094 | -0.47152 | [5 empty] | on
180919_0074 | 180919_0075 | -0.44597 | 1.5347 | 0.35159 | 175.0844 | 184.9156 | 0.2997 | 0.29973 | 0.0044095 | 1.4713 | 67.9667 | 0.84294 | [5 empty] | on
180919_0075 | 180919_0076 | -0.56188 | 1.7963 | 0.34271 | 173.7651 | 186.2349 | 0.28616 | 0.2863 | -0.0088852 | -3.105 | -32.2066 | -1.7784 | [5 empty] | on
180919_0076 | 180919_0077 | -0.6956 | 2.0384 | 0.3384 | 174.9852 | 185.0148 | 0.27661 | 0.27664 | -0.004309 | -1.5578 | -64.1927 | -0.89249 | [5 empty] | on
180919_0077 | 180919_0078 | -0.86122 | 2.2793 | 0.33582 | 174.4017 | 185.5983 | 0.29233 | 0.29234 | -0.0025727 | -0.88009 | -113.625 | -0.50424 | [5 empty] | on
180919_0078 | 180919_0079 | -1.0468 | 2.5012 | 0.33295 | 174.5974 | 185.4026 | 0.2892 | 0.28922 | -0.0028754 | -0.99426 | -100.5778 | -0.56965 | [5 empty] | on
180919_0079 | 180919_0080 | -1.2563 | 2.7146 | 0.33435 | 175.4382 | 184.5618 | 0.2991 | 0.2991 | 0.0014035 | 0.46924 | 213.1101 | 0.26885 | [5 empty] | on
180919_0080 | 180919_0081 | -1.4892 | 2.9002 | 0.32766 | 173.0354 | 186.9646 | 0.2978 | 0.29788 | -0.0066897 | -2.2464 | -44.5166 | -1.2868 | [5 empty] | on
180919_0081 | 180919_0082 | -1.7258 | 3.0611 | 0.32616 | 175.6414 | 184.3586 | 0.28608 | 0.28609 | -0.0015023 | -0.52511 | -190.4369 | -0.30086 | [5 empty] | on
180919_0082 | 180919_0083 | -1.9616 | 3.1925 | 0.32468 | 174.9333 | 185.0667 | 0.26995 | 0.26996 | -0.0014843 | -0.54983 | -181.8728 | -0.31503 | [5 empty] | on
180919_0083 | 180919_0084 | -2.2355 | 3.3085 | 0.32261 | 173.8205 | 186.1795 | 0.29751 | 0.29752 | -0.002063 | -0.69343 | -144.211 | -0.3973 | [5 empty] | on
180919_0084 | 180919_0085 | -2.5204 | 3.4038 | 0.32198 | 175.5298 | 184.4702 | 0.30035 | 0.30036 | -0.00063459 | -0.21128 | -473.3082 | -0.12105 | [5 empty] | on
180919_0085 | 180919_0086 | -2.7945 | 3.4669 | 0.31518 | 174.4709 | 185.5291 | 0.28131 | 0.2814 | -0.0067998 | -2.4172 | -41.3708 | -1.3847 | [5 empty] | on
180919_0086 | 180919_0087 | -3.0718 | 3.5016 | 0.31359 | 174.1728 | 185.8272 | 0.2795 | 0.2795 | -0.0015843 | -0.56685 | -176.4141 | -0.32478 | [5 empty] | on
180919_0087 | 180919_0088 | -3.3486 | 3.5096 | 0.30855 | 174.5357 | 185.4643 | 0.27684 | 0.27688 | -0.0050434 | -1.8218 | -54.8906 | -1.0437 | [5 empty] | on
180919_0088 | 180919_0089 | -3.6407 | 3.4986 | 0.30814 | 176.1824 | 183.8176 | 0.29233 | 0.29233 | -0.00040698 | -0.13922 | -718.2977 | -0.079766 | [5 empty] | on
180919_0089 | 180919_0090 | -0.2167 | 0.45892 | 0.35128 | 43.7485 | 316.2515 | 4.5786 | 4.5788 | 0.043135 | 0.94211 | 106.1451 | 0.53977 | [5 empty] | on
180919_0090 | 180919_0091 | -0.23698 | 0.75429 | 0.34004 | 44.4756 | 315.5244 | 0.29607 | 0.29628 | -0.011243 | -3.7975 | -26.3331 | -2.1748 | [5 empty] | on
180919_0091 | 180919_0092 | -0.28934 | 1.0256 | 0.34654 | 173.0032 | 186.9968 | 0.27633 | 0.27641 | 0.0065029 | 2.3533 | 42.4943 | 1.3481 | [5 empty] | on
180919_0092 | 180919_0093 | -0.3689 | 1.2918 | 0.34932 | 174.2831 | 185.7169 | 0.27784 | 0.27786 | 0.0027766 | 0.99934 | 100.0657 | 0.57256 | [5 empty] | on
180919_0093 | 180919_0094 | -0.46266 | 1.5333 | 0.34353 | 175.4253 | 184.5747 | 0.25908 | 0.25914 | -0.0057828 | -2.2321 | -44.8013 | -1.2787 | [5 empty] | on
180919_0094 | 180919_0095 | -0.60121 | 1.787 | 0.33652 | 172.5723 | 187.4277 | 0.28905 | 0.28913 | -0.0070131 | -2.4263 | -41.2157 | -1.3899 | [5 empty] | on
180919_0095 | 180919_0096 | -0.75299 | 1.9982 | 0.33708 | 172.9305 | 187.0695 | 0.26003 | 0.26003 | 0.00055891 | 0.21494 | 465.2429 | 0.12315 | [5 empty] | on
180919_0096 | 180919_0097 | -0.94872 | 2.2066 | 0.33182 | 172.5207 | 187.4793 | 0.28597 | 0.28602 | -0.0052596 | -1.8392 | -54.3708 | -1.0537 | [5 empty] | on
180919_0097 | 180919_0099 | -1.1386 | 2.3817 | 0.33111 | 175.8648 | 184.1352 | 0.25831 | 0.25831 | -0.00071237 | -0.27579 | -362.5998 | -0.15801 | [5 empty] | on
180919_0099 | 180919_0100 | -1.3447 | 2.5343 | 0.3231 | 173.8404 | 186.1596 | 0.25635 | 0.25648 | -0.0080055 | -3.1228 | -32.0222 | -1.7887 | [5 empty] | on
180919_0100 | 180919_0101 | -1.5871 | 2.6718 | 0.3271 | 173.0539 | 186.9461 | 0.27868 | 0.27871 | 0.0040029 | 1.4364 | 69.6195 | 0.82293 | [5 empty] | on
180919_0101 | 180919_0102 | -1.8366 | 2.7924 | 0.32383 | 176.2256 | 183.7744 | 0.27716 | 0.27718 | -0.0032706 | -1.18 | -84.7438 | -0.67607 | [5 empty] | on
180919_0102 | 180919_0103 | -2.0732 | 2.8649 | 0.31644 | 171.2571 | 188.7429 | 0.24744 | 0.24755 | -0.0073964 | -2.9892 | -33.4539 | -1.7122 | [5 empty] | on
180919_0103 | 180919_0104 | -2.3632 | 2.9237 | 0.32257 | 174.3968 | 185.6032 | 0.29594 | 0.296 | 0.0061318 | 2.072 | 48.2623 | 1.187 | [5 empty] | on
180919_0104 | 180919_0105 | -2.6264 | 2.9544 | 0.30961 | 175.2098 | 184.7902 | 0.26501 | 0.26533 | -0.012961 | -4.8907 | -20.4472 | -2.7999 | [5 empty] | on
180919_0105 | 180919_0106 | -2.8993 | 2.9516 | 0.31244 | 172.7513 | 187.2487 | 0.2729 | 0.27292 | 0.0028341 | 1.0385 | 96.2918 | 0.595 | [5 empty] | on
180919_0106 | 180919_0107 | -3.1685 | 2.922 | 0.31388 | 174.3295 | 185.6705 | 0.27081 | 0.27081 | 0.0014328 | 0.52907 | 189.0107 | 0.30313 | [5 empty] | on
180919_0107 | 180919_0108 | -3.4547 | 2.8534 | 0.30602 | 172.7676 | 187.2324 | 0.29425 | 0.29435 | -0.0078533 | -2.6689 | -37.4682 | -1.5288 | [5 empty] | on
180919_0108 | 180919_0109 | -3.7013 | 2.7675 | 0.3108 | 174.3061 | 185.6939 | 0.26119 | 0.26123 | 0.0047812 | 1.8306 | 54.6279 | 1.0487 | [5 empty] | on
180919_0109 | 180919_0110 | -0.28825 | 0.50262 | 0.34084 | 52.7567 | 307.2433 | 4.0962 | 4.0963 | 0.030042 | 0.7334 | 136.3515 | 0.4202 | [5 empty] | on
180919_0110 | 180919_0111 | -0.30281 | 0.76818 | 0.34264 | 53.2922 | 306.7078 | 0.26597 | 0.26597 | 0.0017956 | 0.67513 | 148.1193 | 0.38682 | [5 empty] | on
180919_0111 | 180919_0112 | -0.35117 | 1.0176 | 0.34571 | 172.1668 | 187.8332 | 0.25406 | 0.25408 | 0.0030707 | 1.2087 | 82.7359 | 0.69248 | [5 empty] | on
180919_0112 | 180919_0113 | -0.42958 | 1.2775 | 0.34482 | 174.1827 | 185.8173 | 0.27142 | 0.27143 | -0.00089166 | -0.32851 | -304.4021 | -0.18822 | [5 empty] | on
180919_0113 | 180919_0114 | -0.53826 | 1.511 | 0.34266 | 171.8324 | 188.1676 | 0.25756 | 0.25757 | -0.002163 | -0.8398 | -119.0762 | -0.48116 | [5 empty] | on
180919_0114 | 180919_0115 | -0.6784 | 1.7339 | 0.34275 | 172.8091 | 187.1909 | 0.26337 | 0.26337 | 9.0153e-05 | 0.034231 |  | 0.019613 | [5 empty] | on
180919_0115 | 180919_0116 | -0.8424 | 1.92 | 0.3316 | 170.7465 | 189.2535 | 0.24798 | 0.24823 | -0.011146 | -4.4946 | -22.2488 | -2.5735 | [5 empty] | on
180919_0116 | 180919_0117 | -1.0264 | 2.0962 | 0.33391 | 175.1676 | 184.8324 | 0.25474 | 0.25475 | 0.0023121 | 0.90763 | 110.1766 | 0.52002 | [5 empty] | on
180919_0117 | 180919_0118 | -1.2514 | 2.2595 | 0.32788 | 172.2006 | 187.7994 | 0.27808 | 0.27815 | -0.0060331 | -2.1695 | -46.093 | -1.2429 | [5 empty] | on
180919_0118 | 180919_0119 | -1.4668 | 2.3816 | 0.3287 | 173.6009 | 186.3991 | 0.24755 | 0.24755 | 0.00082367 | 0.33273 | 300.5407 | 0.19064 | [5 empty] | on
180919_0119 | 180919_0120 | -1.6986 | 2.4781 | 0.32332 | 173.032 | 186.968 | 0.25113 | 0.25119 | -0.005382 | -2.1431 | -46.6623 | -1.2277 | [5 empty] | on
180919_0120 | 180919_0121 | -1.9538 | 2.5498 | 0.32472 | 173.0899 | 186.9101 | 0.26503 | 0.26504 | 0.0014014 | 0.52875 | 189.1247 | 0.30295 | [5 empty] | on
180919_0121 | 180919_0122 | -2.1966 | 2.5829 | 0.31916 | 172.0833 | 187.9167 | 0.24505 | 0.24511 | -0.0055642 | -2.2706 | -44.0405 | -1.3008 | [5 empty] | on
180919_0122 | 180919_0123 | -2.4563 | 2.5926 | 0.32239 | 174.3559 | 185.6441 | 0.25994 | 0.25996 | 0.0032359 | 1.2449 | 80.3297 | 0.71322 | [5 empty] | on
180919_0123 | 180919_0124 | -2.7051 | 2.5622 | 0.31648 | 170.9079 | 189.0921 | 0.25067 | 0.25074 | -0.0059188 | -2.3612 | -42.3515 | -1.3526 | [5 empty] | on
180919_0124 | 180919_0125 | -2.9599 | 2.5056 | 0.31668 | 174.4377 | 185.5623 | 0.26098 | 0.26098 | 0.00020337 | 0.077928 |  | 0.044649 | [5 empty] | on
180919_0125 | 180919_0126 | -3.1968 | 2.4103 | 0.30922 | 170.625 | 189.375 | 0.25537 | 0.25548 | -0.0074623 | -2.9222 | -34.2212 | -1.6738 | [5 empty] | on
180919_0126 | 180919_0127 | -3.4306 | 2.2936 | 0.31345 | 175.3663 | 184.6337 | 0.26124 | 0.26128 | 0.0042317 | 1.6198 | 61.7349 | 0.92801 | [5 empty] | on
180919_0127 | 180919_0128 | -3.6407 | 2.1467 | 0.31559 | 171.5814 | 188.4186 | 0.25643 | 0.25644 | 0.0021447 | 0.83636 | 119.5661 | 0.47919 | [5 empty] | on
180919_0128 | 180919_0129 | -3.8207 | 1.9745 | 0.31395 | 171.2125 | 188.7875 | 0.24903 | 0.24904 | -0.0016477 | -0.66164 | -151.1388 | -0.37909 | [5 empty] | on
180919_0129 | 180919_0130 | -3.9901 | 1.777 | 0.30611 | 174.3607 | 185.6393 | 0.26024 | 0.26036 | -0.0078353 | -3.0108 | -33.2141 | -1.7245 | [5 empty] | on

## Sheet1
#x_offset,y_offset |  | -0.3325 | 0
#λ=5 #x,y
-0.33475 | 0.67984 | 0 | 0 | -0.3325 | 0 | r = 5.27108379650986 | 5.2711
-0.33392 | 1.0384 | 0.00083237 | 0.3586 | -0.33167 | 0.3586 | a = -5.71871558978989
-0.3401 | 1.3909 | -0.0053457 | 0.71103 | -0.33785 | 0.71103 | b = 0.498911261782287
-0.35288 | 1.738 | -0.018126 | 1.0581 | -0.35063 | 1.0581
-0.37286 | 2.086 | -0.038103 | 1.4061 | -0.3706 | 1.4061
-0.40175 | 2.4271 | -0.066993 | 1.7472 | -0.39949 | 1.7472
-0.43567 | 2.7912 | -0.10091 | 2.1114 | -0.43341 | 2.1114
-0.47227 | 3.1354 | -0.13751 | 2.4555 | -0.47001 | 2.4555
-0.5184 | 3.4903 | -0.18365 | 2.8105 | -0.51615 | 2.8105
-0.57138 | 3.8259 | -0.23663 | 3.146 | -0.56913 | 3.146
-0.62658 | 4.1765 | -0.29183 | 3.4967 | -0.62433 | 3.4967
-0.69337 | 4.5194 | -0.35862 | 3.8395 | -0.69112 | 3.8395
-0.76207 | 4.858 | -0.42732 | 4.1782 | -0.75982 | 4.1782
-0.84627 | 5.1955 | -0.51152 | 4.5157 | -0.84402 | 4.5157
-0.93174 | 5.5312 | -0.59698 | 4.8513 | -0.92948 | 4.8513
-1.0231 | 5.8651 | -0.68834 | 5.1852 | -1.0208 | 5.1852
#λ=10 #x,y
-0.29015 | 0.75741 | 0 | 0 | -0.3325 | 0 | r = 5.57382981536924 | 5.5738
-0.30069 | 1.1021 | -0.01054 | 0.34464 | -0.34304 | 0.34464 | a = -6.02854496511507
-0.31873 | 1.4234 | -0.02858 | 0.66604 | -0.36108 | 0.66604 | b = 0.800813672452628
-0.35755 | 1.7609 | -0.067406 | 1.0035 | -0.39991 | 1.0035
-0.40474 | 2.0827 | -0.11459 | 1.3253 | -0.44709 | 1.3253
-0.46474 | 2.4246 | -0.17459 | 1.6672 | -0.50709 | 1.6672
-0.53923 | 2.7628 | -0.24909 | 2.0054 | -0.58159 | 2.0054
-0.62031 | 3.0769 | -0.33016 | 2.3195 | -0.66266 | 2.3195
-0.72339 | 3.4144 | -0.43324 | 2.657 | -0.76574 | 2.657
-0.82917 | 3.704 | -0.53903 | 2.9466 | -0.87153 | 2.9466
-0.94961 | 4.0137 | -0.65946 | 3.2563 | -0.99196 | 3.2563
-1.0927 | 4.3389 | -0.80256 | 3.5815 | -1.1351 | 3.5815
-1.2397 | 4.6337 | -0.94953 | 3.8763 | -1.282 | 3.8763
-1.3959 | 4.9274 | -1.1058 | 4.17 | -1.4383 | 4.17
-1.5665 | 5.2135 | -1.2763 | 4.4561 | -1.6088 | 4.4561
-1.7436 | 5.4887 | -1.4535 | 4.7313 | -1.786 | 4.7313
#λ=15 #x,y
-0.17596 | 0.49635 | 0 | 0 | -0.3325 | 0 | r = 4.31960471430598 | 4.3196
-0.19393 | 0.76559 | -0.017966 | 0.26925 | -0.35047 | 0.26925 | a = -4.80030773002219
-0.23194 | 1.0794 | -0.05598 | 0.5831 | -0.38848 | 0.5831 | b = 0.90350239630978
-0.28508 | 1.4024 | -0.10912 | 0.90606 | -0.44162 | 0.90606
-0.35548 | 1.7185 | -0.17952 | 1.2221 | -0.51202 | 1.2221
-0.446 | 2.0121 | -0.27004 | 1.5157 | -0.60254 | 1.5157
-0.55679 | 2.3211 | -0.38083 | 1.8248 | -0.71333 | 1.8248
-0.68174 | 2.6193 | -0.50578 | 2.1229 | -0.83828 | 2.1229
-0.82131 | 2.9007 | -0.64535 | 2.4044 | -0.97785 | 2.4044
-0.97614 | 3.1804 | -0.80018 | 2.684 | -1.1327 | 2.684
-1.1489 | 3.4417 | -0.97297 | 2.9454 | -1.3055 | 2.9454
-1.3501 | 3.7158 | -1.1741 | 3.2195 | -1.5066 | 3.2195
-1.5387 | 3.9481 | -1.3627 | 3.4518 | -1.6952 | 3.4518
-1.7559 | 4.1754 | -1.5799 | 3.6791 | -1.9124 | 3.6791
-1.9932 | 4.3977 | -1.8172 | 3.9014 | -2.1497 | 3.9014
-2.2447 | 4.6006 | -2.0688 | 4.1043 | -2.4013 | 4.1043
-2.5117 | 4.7982 | -2.3357 | 4.3019 | -2.6682 | 4.3019
#λ=20 #x,y
-0.20369 | 0.40205 | 0 | 0 | -0.3325 | 0 | r = 4.34548433260263 | 4.3455
-0.21601 | 0.63411 | -0.01232 | 0.23206 | -0.34482 | 0.23206 | a = -4.80174993089071
-0.25161 | 0.93201 | -0.047914 | 0.52997 | -0.38041 | 0.52997 | b = 1.09160718333095
-0.30804 | 1.2149 | -0.10434 | 0.81281 | -0.43684 | 0.81281
-0.39853 | 1.5271 | -0.19484 | 1.125 | -0.52734 | 1.125
-0.49808 | 1.8125 | -0.29439 | 1.4105 | -0.62689 | 1.4105
-0.62323 | 2.0837 | -0.41954 | 1.6816 | -0.75204 | 1.6816
-0.77386 | 2.3506 | -0.57017 | 1.9486 | -0.90267 | 1.9486
-0.94104 | 2.6075 | -0.73735 | 2.2055 | -1.0698 | 2.2055
-1.1268 | 2.8475 | -0.92308 | 2.4455 | -1.2556 | 2.4455
-1.3316 | 3.0786 | -1.1279 | 2.6765 | -1.4604 | 2.6765
-1.5477 | 3.2848 | -1.344 | 2.8828 | -1.6765 | 2.8828
-1.7735 | 3.4709 | -1.5698 | 3.0688 | -1.9023 | 3.0688
-2.0335 | 3.6566 | -1.8298 | 3.2545 | -2.1623 | 3.2545
-2.2993 | 3.8186 | -2.0956 | 3.4165 | -2.4281 | 3.4165
-2.5689 | 3.9499 | -2.3653 | 3.5479 | -2.6978 | 3.5479
-2.8414 | 4.0606 | -2.6377 | 3.6586 | -2.9702 | 3.6586
-3.127 | 4.144 | -2.9233 | 3.7419 | -3.2558 | 3.7419
#λ=25 #x,y
-0.25138 | 0.43886 | 0 | 0 | -0.3325 | 0 | r = 3.09358280481799 | 3.0936
-0.26166 | 0.70737 | -0.010285 | 0.26851 | -0.34279 | 0.26851 | a = -3.54358288636194
-0.29372 | 0.97798 | -0.042343 | 0.53912 | -0.37484 | 0.53912 | b = 1.0043799733597
-0.35505 | 1.2491 | -0.10367 | 0.81025 | -0.43617 | 0.81025
-0.44597 | 1.5347 | -0.19459 | 1.0958 | -0.52709 | 1.0958
-0.56188 | 1.7963 | -0.3105 | 1.3575 | -0.643 | 1.3575
-0.6956 | 2.0384 | -0.44423 | 1.5996 | -0.77673 | 1.5996
-0.86122 | 2.2793 | -0.60984 | 1.8405 | -0.94234 | 1.8405
-1.0468 | 2.5012 | -0.79539 | 2.0623 | -1.1279 | 2.0623
-1.2563 | 2.7146 | -1.0049 | 2.2757 | -1.3374 | 2.2757
-1.4892 | 2.9002 | -1.2378 | 2.4614 | -1.5703 | 2.4614
-1.7258 | 3.0611 | -1.4744 | 2.6222 | -1.8069 | 2.6222
-1.9616 | 3.1925 | -1.7102 | 2.7536 | -2.0427 | 2.7536
-2.2355 | 3.3085 | -1.9841 | 2.8697 | -2.3166 | 2.8697
-2.5204 | 3.4038 | -2.269 | 2.9649 | -2.6015 | 2.9649
-2.7945 | 3.4669 | -2.5431 | 3.028 | -2.8756 | 3.028
-3.0718 | 3.5016 | -2.8205 | 3.0627 | -3.153 | 3.0627
-3.3486 | 3.5096 | -3.0972 | 3.0708 | -3.4297 | 3.0708
-3.6407 | 3.4986 | -3.3893 | 3.0598 | -3.7218 | 3.0598
#λ=30 #x,y
-0.2167 | 0.45892 | 0 | 0 | -0.3325 | 0 | r = 2.52161257634815 | 2.5216
-0.23698 | 0.75429 | -0.020274 | 0.29537 | -0.35277 | 0.29537 | a = -2.97508121788568
-0.28934 | 1.0256 | -0.072638 | 0.5667 | -0.40514 | 0.5667 | b = 1.01041522323448
-0.3689 | 1.2918 | -0.1522 | 0.83291 | -0.4847 | 0.83291
-0.46266 | 1.5333 | -0.24595 | 1.0744 | -0.57845 | 1.0744
-0.60121 | 1.787 | -0.38451 | 1.3281 | -0.71701 | 1.3281
-0.75299 | 1.9982 | -0.53629 | 1.5392 | -0.86879 | 1.5392
-0.94872 | 2.2066 | -0.73202 | 1.7477 | -1.0645 | 1.7477
-1.1386 | 2.3817 | -0.92194 | 1.9228 | -1.2544 | 1.9228
-1.3447 | 2.5343 | -1.128 | 2.0753 | -1.4605 | 2.0753
-1.5871 | 2.6718 | -1.3704 | 2.2129 | -1.7029 | 2.2129
-1.8366 | 2.7924 | -1.6199 | 2.3335 | -1.9524 | 2.3335
-2.0732 | 2.8649 | -1.8565 | 2.406 | -2.189 | 2.406
-2.3632 | 2.9237 | -2.1465 | 2.4647 | -2.479 | 2.4647
-2.6264 | 2.9544 | -2.4097 | 2.4955 | -2.7422 | 2.4955
-2.8993 | 2.9516 | -2.6826 | 2.4926 | -3.0151 | 2.4926
-3.1685 | 2.922 | -2.9518 | 2.4631 | -3.2843 | 2.4631
-3.4547 | 2.8534 | -3.238 | 2.3944 | -3.5705 | 2.3944
-3.7013 | 2.7675 | -3.4846 | 2.3086 | -3.8171 | 2.3086
#λ=35 #x,y
-0.28825 | 0.50262 | 0 | 0 | -0.3325 | 0 | r = 2.06826534368392 | 2.0683
-0.30281 | 0.76818 | -0.014568 | 0.26557 | -0.34707 | 0.26557 | a = -2.51826476731348
-0.35117 | 1.0176 | -0.062928 | 0.51498 | -0.39543 | 0.51498 | b = 0.990641477512987
-0.42958 | 1.2775 | -0.14133 | 0.77484 | -0.47383 | 0.77484
-0.53826 | 1.511 | -0.25001 | 1.0083 | -0.58251 | 1.0083
-0.6784 | 1.7339 | -0.39016 | 1.2313 | -0.72266 | 1.2313
-0.8424 | 1.92 | -0.55416 | 1.4173 | -0.88666 | 1.4173
-1.0264 | 2.0962 | -0.73812 | 1.5935 | -1.0706 | 1.5935
-1.2514 | 2.2595 | -0.96319 | 1.7569 | -1.2957 | 1.7569
-1.4668 | 2.3816 | -1.1785 | 1.879 | -1.511 | 1.879
-1.6986 | 2.4781 | -1.4104 | 1.9755 | -1.7429 | 1.9755
-1.9538 | 2.5498 | -1.6655 | 2.0472 | -1.998 | 2.0472
-2.1966 | 2.5829 | -1.9083 | 2.0803 | -2.2408 | 2.0803
-2.4563 | 2.5926 | -2.1681 | 2.09 | -2.5006 | 2.09
-2.7051 | 2.5622 | -2.4169 | 2.0596 | -2.7494 | 2.0596
-2.9599 | 2.5056 | -2.6717 | 2.003 | -3.0042 | 2.003
-3.1968 | 2.4103 | -2.9086 | 1.9077 | -3.2411 | 1.9077
-3.4306 | 2.2936 | -3.1423 | 1.791 | -3.4748 | 1.791
-3.6407 | 2.1467 | -3.3525 | 1.6441 | -3.685 | 1.6441
-3.8207 | 1.9745 | -3.5324 | 1.4719 | -3.8649 | 1.4719
-3.9901 | 1.777 | -3.7018 | 1.2744 | -4.0343 | 1.2744